Document Instructions

Note: Black text indicates required content that must be completed. Blue italicized text indicates instructional guidance, examples, or placeholders that must be replaced with authored content prior to document approval.

- Delete or replace all blue instructional text with finalized content before document approval.

- Do not remove required sections or tables unless explicitly stated in the blue instructional text for that section.

- Complete Sections 1 through 4 of this Configuration Verification Checklist in full. For System Update / Import activities, complete the applicable System Update / Import Verification subsection and any additional configuration verification subsections impacted by the approved update. Configuration verification subsections not impacted by the System Update / Import may be marked N/A.

- Section 2 (System Identification) shall be completed with system-specific information to ensure traceability to the approved APC System Configuration (D01555607), applicable release baseline, and associated Change Management records.

- Section 3 (Configuration Assessment) shall be completed for each applicable APC software component configured as part of the selected APC solution, including but not limited to:

  - Software Components

  - Equipment network connectivity

  - If a software component is not applicable, select the N/A option and document the rationale where provided.

- Configuration verification is limited to configuration presence, alignment, and readiness and does not constitute full functional or execution testing.

- Section 4 (Deviation) shall include any deviations identified during verification including description of the issue, impact assessment, root cause (if known), corrective actions taken, and re-verification activities performed, as applicable.

- Section 5 (Conclusion) shall document the overall configuration verification outcome, including acceptance status and disposition for progression to the next lifecycle phase. It shall also include the overall acceptance decision and disposition for progression to the next lifecycle phase.

- All checklist entries shall be signed and dated by the individual performing the verification.

- Quality review and approval shall be completed in accordance with the Advanced Process Control (APC) Systems Overview (D01317961) and APC System Change Management (D01458108), ensuring alignment with the defined APC lifecycle, governance model, and applicable quality system requirements.

Approvals

☐ N/A, Captured electronically.

Mark this section N/A if this is captured electronically and delete the table below. Refer to D00858246 for minimum required roles.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Document Author | Name | Sign | Date |
| Independent Reviewer | Name | Sign | Date |
| Quality Representative | Name | Sign | Date |
| (Add rows for additional approvers, as needed.) |  |  |  |

Change History

☐ N/A, Captured electronically.

Mark this section N/A if this is captured electronically and delete the table below.

Complete this table or include a reference to the number of the electronic Change Order that contains the description of change for the document revision.

| Revision | Description of Changes | Author | Date |
| --- | --- | --- | --- |
| Revision | Description of changes (e.g., initial release of APC Configuration Verification Checklist; updates to verification checkpoints for software components;). | Name | Date |
|  | (Add rows as needed.) |  |  |

Scope

This Configuration Verification Checklist confirms that all Advanced Process Control (APC) system software components for [System Name / VM Name] were configured successfully on the approved APC virtual machine (VM) in accordance with the approved APC System Configuration (D01555607).

This verification applies to APC System Version: APC System V[X.X ], as defined in the applicable system documentation and approved release baseline.

This checklist verifies that all required APC software components associated with the identified APC system version are configured in alignment with the appropriate solution design.

System Identification

Use this section to record the identifying information for the APC system configuration being verified. This information uniquely identifies the APC virtual machine, the applicable APC system release, and the deployment context, and establishes traceability between this Configuration Verification Checklist, the approved APC Configuration Procedure, and the associated Change Management record.

This Configuration Verification Checklist defines the required verification checkpoints for the following APC system configuration:

| - System Name / VM Name | - Example: APC-CLC-VM01 |
| --- | --- |
| - APC System Version: | - Example: APC System V1.5 |
| - APC Solution Type: | - Example: Closed-Loop Correction (CLC) |
| - Installation Site / Location: | - Example: Medtronic Humacao Spinal Site |
| - Installation Verification Record | - Document ID |
| - Reason for Configuration | - ☐ Initial System Configuration - ☐ Configuration Restore - ☐ Component Configuration / Update - ☐ System Update - ☐ Other: _________ |
| - Related Change Management Record | - Change ID |

Closed Loop Correction Configuration Assessment

Use this section to verify that each applicable APC software component was configured successfully on the approved APC virtual machine (VM) in accordance with APC System Configuration (D01555607) for the Closed-Loop Correction (CLC) solution.

deviseWise Configuration Verification

This section verifies that the deviceWise platform and required integrations are present, configured, and ready to support the selected CLC solution.

| - Item | - Action | - Expected Results | - Results - (Pass / Fail / N/A) | - Performed By - (Signature/ Employee Number/Date) |
| --- | --- | --- | --- | --- |
| - 1 | - Verify required deviceWise packages are installed | - OPC UA Server, OPC UA Client Driver, FileWatcher, and CNCnetPDM packages are installed and visible under Administration → Packages | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 2 | - Verify deviceWise License Client configuration | - License Manager address configured and connection state = True under Administration → License Client | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 3 | - Verify OPC UA tag definitions are imported | - Approved OPC UA tag definition files for the CLC solution are imported and visible under Devices | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 4 | - Verify OPC UA Server exposed devices | - CNC1, CNC2, CNC3 are selected and exposed under Administration → OPC UA Server → Devices | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 5 | - Verify OPC UA Server endpoint configuration | - Endpoint configured with Port = 48020, Security Modes enabled, Security Policies enabled (except last), User Authentication = True, Allow Anonymous = True, and Endpoint state = Started | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 6 | - Verify CNCAsset and CNCType variables for CNC1 | - CNC1 variables populated with approved values: - CNCAsset = ____________ - CNCType = ____________ | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 7 | - Verify CNCAsset and CNCType variables for CNC2 | - CNC2 variables populated with approved values: - CNCAsset = ____________ - CNCType = ____________ | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 8 | - Verify CNCAsset and CNCType variables for CNC3 | - CNC3 variables populated with approved values: - CNCAsset = ____________ - CNCType = ____________ | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 9 | - Verify CHMI deviceWise project import | - Approved CHMI deviceWise project is imported and present under Projects | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 10 | - Verify CHMI project components status | - Required CHMI Data and SubTrigger components are Loaded and Started | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 11 | - Verify SINC deviceWise project import | - Approved SINC deviceWise project is imported and present under Projects | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 12 | - Verify SINC trigger readiness | - All required SINC triggers are present with Status = Loaded and State = Started | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 13 | - Verify SINC EMAIL_TO configuration | - EMAIL_TO local variable configured with valid email addresses in 0_DefaultConfiguration | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 14 | - Verify CNC_Settings table entries | - CNC_Settings table populated per CNC with approved values | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 15 | - Verify SINC staging folder structure | - Required SINC staging directories exist under C:\Program Files\deviceWISE\Gateway\staging\SINC\ including CNC1, CNC2, CNC3 folders with subfolders: Processing, DoneSuccess, DoneError | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 16 | - Verify CNCnetPDM instance registration | - CNCnetPDM instance is registered in deviceWise and status = Connected | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 17 | - Verify CNCnetPDM to deviceWise path mapping | - CNCnetPDM machines mapped correctly: CNC1 → CNC1_Path, CNC2 → CNC2_Path, CNC3 → CNC3_Path | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 18 | - Verify external OPC UA user exists | - Approved external OPC UA user (MedtronicSU) exists under Security → Users | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 19 | - Verify external client certificate trust | - External client certificate for All required applications appear as Trusted under OPC UA Server → Certificates | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 20 | - Verify CNCx and CNCx_Path device objects are started | - All CNC device objects and corresponding path objects are present under Devices and show State = Started and Status = Loaded | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - Comments: |  |  |  |  |

Timescale Database (TSDB)

| - Item | - Action | - Expected Results | - Results - (Pass / Fail / N/A) | - Performed By - (Signature/ Employee Number/Date) |
| --- | --- | --- | --- | --- |
| - 1 | - Verify PostgreSQL host authentication configuration | - pg_hba.conf contains entry allowing host connections (host all all 0.0.0.0/0 md5) | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 2 | - Verify PostgreSQL service restart | - PostgreSQL service (postgresql-x64-17) restarted successfully after configuration update | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 3 | - Verify TSDB database user creation | - Database user apcuser exists under Login/Group Roles | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 4 | - Verify apcuser privileges | - User apcuser configured with required privileges (Login, Superuser, Create Roles, Create Databases, Inherit Rights, Bypass RLS) | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 5 | - Verify TimescaleDB database creation | - Database TimescaleDB exists and owner is apcuser | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 6 | - Verify TimescaleDB extension installation | - timescaledb extension installed and visible under Extensions in database TimescaleDB | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 7 | - Verify pgAdmin server registration | - pgAdmin server connection configured using VM hostname and port 5432 | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 8 | - Verify pgAdmin connection | - pgAdmin successfully connects to database TimescaleDB using user apcuser | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 9 | - Verify APC database schema deployment | - Approved APC schema scripts are executed successfully without errors | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 10 | - Verify schema tables creation | - All required APC tables visible under public schema in TimescaleDB | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - Comments: |  |  |  |  |

DOC (Dynamic Offset Calculation) Configuration Verification

This section verifies that the Dynamic Offset Calculator (DOC) software components are configured, and correctly aligned with the deviceWise configuration to support the selected CLC solution.

| - Item | - Action | - Expected Results | - Results - (Pass / Fail / N/A) | - Performed By - (Signature/ Employee Number/Date) |
| --- | --- | --- | --- | --- |
| - 1 | - Verify required number of DOC instances based on deviceWise CNC assets | - Number of DOC instances matches CNC assets configured in deviceWise (e.g., CNC1, CNC2, CNC3). - Configured instances: ____________ | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 2 | - Verify DOC instance directory structure | - Each DOC instance directory exists under the APC VM installation path | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 3 | - Verify DocDB.xml database connection configuration | - DocDB.xml connection parameters configured to connect to the TimescaleDB instance using the apcuser account | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 4 | - Verify SpcDB.xml database connection configuration | - SpcDB.xml connection parameters configured to connect to the TimescaleDB instance using the apcuser account | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 5 | - Verify PartLookup.xml database connection configuration | - PartLookup.xml connection parameters configured to connect to the TimescaleDB instance using the apcuser account | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 6 | - Verify PartLookup.xml matrix revision configuration | - <LoadMatrixRevision> parameter configured as MAX to retrieve the latest matrix revision from the database | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 7 | - Verify DOC_II.xml output path configuration | - CSVFileOutputPath routes output to deviceWise SINC staging directory corresponding to the configured CNC | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 8 | - Verify IqsDocSpcDataCollector.xml asset mapping configuration | - Asset mapping fields are configured to match deviceWise CNC configuration | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 9 | - Verify DOC instance to CNC asset alignment | - DOC instances mapped one-to-one with CNC assets (as applicable): - DOC 1 → CNC1 - DOC 2 → CNC2 - DOC 3 → CNC3 | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 10 | - Verify DOC application launch | - DOC application launches successfully for each configured DOC instance without errors | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 11 | - Verify DOC connectivity status (per instance) | - For each DOC instance, all indicators display green: - DOC DB – Connected - SPC – Connected - OPC – Connected | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 12 | - Verify alignment with deviceWise operator–machine configuration | - DOC-to-CNC mappings align with operator–machine configuration established in deviceWise | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 13 | - Confirm DOC configuration completeness | - All required DOC configuration elements are present, aligned, and saved | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - Comments: |  |  |  |  |

CNCnetPDM Configuration Verification

This section verifies that the CNCnetPDM software is installed, licensed, and configured to establish reliable CNC machine connectivity in support of the selected Closed-Loop Correction (CLC) solution.

| - Item | - Action | - Expected Results | - Results - (Pass / Fail / N/A) | - Performed By - (Signature/ Employee Number/Date) |
| --- | --- | --- | --- | --- |
| - 1 | - CNCnetPDM configuration directory verified | - CNCNetPDM_8.0.0.0 directory is present and accessible. | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 2 | - Perpetual CNCnetPDM license applied | - License entered and accepted without errors. - Liscence Number:_______________ | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 3 | - CNC machine definitions configured (CNCnetPDM.ini) to match CNC1 | - CNC machine entries configured with correct values: - Device Nr: ____________ - Machine Name: _________ - IP Address: ____________ - Port: 683 - Mitsubishi Nr.: 1=CNC1 - DLL: CitizenM.dll / MitsubishiM.dll | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 4 | - CNC machine definitions configured (CNCnetPDM.ini) to match CNC2 (if applicable) | - CNC machine entries configured with correct values: - Device Nr: ____________ - Machine Name: _________ - IP Address: ____________ - Port: 683 - Mitsubishi Nr.: 2=CNC2 - DLL: CitizenM.dll / MitsubishiM.dll | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 5 | - CNC machine definitions configured (CNCnetPDM.ini) to match CNC3 (if applicable) | - CNC machine entries configured with correct values: - Device Nr: ____________ - Machine Name: _________ - IP Address: ____________ - Port: 683 - Mitsubishi Nr.: 3=CNC3 - DLL: CitizenM.dll / MitsubishiM.dll | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 6 | - CNC driver DLL files renamed correctly for each configured CNC | - CNC driver filenames match assigned Device Nr and exist in CNCnetPDM directory for each configured CNC. | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 7 | - CNC network mappings configured (melcfg.ini) | - TCP mappings defined and aligned with CNC indexing, as aplicable: - TCP1 → CNC1 IP:683 - TCP2 → CNC2 IP:683 - TCP3 → CNC3 IP:683 | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 8 | - Configuration consistency verified | - CNCnetPDM.ini, melcfg.ini, and DLL filenames are consistent for Device Nr, Mitsubishi Nr., IP, port, and driver selection | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 9 | - CNCnetPDM initialization check | - CNCnetPDM initializes without startup or communication errors | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 10 | - CNCnetPDM devices connected | - Each configured CNC device shows Connected status within CNCnetPDM (no disconnected or faulted devices present). | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 11 | - Read access verified via deviceWise / CNCnetPDM | - DeviceWise is able to read CNC variables through CNCnetPDM for each configured CNC. | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 12 | - Write access verified via deviceWise / CNCnetPDM | - DeviceWise is able to write permitted CNC variables through CNCnetPDM without communication or permission errors for each configured CNC. | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 13 | - CNCnetPDM readiness for APC integration | - CNCnetPDM connectivity and read/write capability are confirmed ready for downstream APC components. | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - Comments: |  |  |  |  |

Data Collection and Analytics Software Components Configuration Verification

This section verifies that data collection and analytics software components supporting the APC system are properly installed, configured, and ready for use in the selected Closed-Loop Correction (CLC) solution.

File Manager

This section verifies that the Data Collector File Manager is properly configured to route measurement files from instrument shared directories to the APC local processing environment.

| - Item | - Action | - Expected Results | - Results - (Pass / Fail / N/A) | - Performed By - (Signature/ Employee Number/Date) |
| --- | --- | --- | --- | --- |
| - 1 | - Verify predefined instrument path entries | - Configuration file contains predefined <Path> entries for supported instruments (e.g., CMM, CTSCAN, BENCH, CONTRACER) | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 2 | - Verify source path configuration | - Each <Path> parameter configured with the approved shared instrument directory used for measurement file output | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 3 | - Verify destination path configuration | - Each <NewPath> parameter configured with a valid APC local processing directory | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 4 | - Verify local processing directories exist | - Configured <NewPath> directories exist on the APC VM and are organized by instrument type | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 5 | - Verify file completion configuration | - <EndFileString> parameter is configured appropriately for each <Path> entry to ensure File Manager processes completed files correctly | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 6 | - Verify File Manager application startup | - Data Collector File Manager application launches successfully without errors | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 7 | - Verify file routing functionality | - Test files placed in configured shared source directories are detected and routed to the corresponding <NewPath> directories | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - Comments: |  |  |  |  |

Data Collector

This section verifies that the Data Collector application is properly configured to monitor local processing directories and process measurement files routed from the File Manager.

| - Item | - Action | - Expected Results | - Results - (Pass / Fail / N/A) | - Performed By - (Signature/ Employee Number/Date) |
| --- | --- | --- | --- | --- |
| - 1 | - Verify database connection configuration | - Database connection parameters configured to connect to TimescaleDB using the apcuser account | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 2 | - Verify data source configuration blocks | - <DataTypeSettings> section contains predefined configuration blocks for supported data sources (e.g., CMM, BENCH, CTSCAN, CONTRACER) | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 3 | - Verify CheckPath configuration | - <CheckPath> parameter configured to monitor the correct local processing directories used by File Manager | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 4 | - Verify ArchivePath configuration | - <ArchivePath> parameter configured to store processed measurement files after successful processing | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 5 | - Verify BroadcastFilePaths configuration | - <BroadcastFilePaths> parameter configured with appropriate destination paths or set according to system integration requirements | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 6 | - Verify directory existence and permissions | - Directories defined in <CheckPath>, <ArchivePath>, and <BroadcastFilePaths> exist and allow read/write access for the Data Collector application | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 7 | - Verify file completion configuration | - <EndFileString> parameter is configured appropriately to ensure Data Collector processes only completed measurement files | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 8 | - Verify Data Collector application startup | - Data Collector application launches successfully without errors | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 9 | - Verify file detection and processing | - Measurement files routed from File Manager appear in <CheckPath> directories and are detected by Data Collector | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 10 | - Verify file archiving behavior | - Processed files are moved to the configured <ArchivePath> directories after successful processing | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - Comments: |  |  |  |  |

Data Analyzer

This section verifies that the Data Analyzer application is properly configured to retrieve processed measurement data from the Timescale Database (TSDB).

| - Item | - Action | - Expected Results | - Results - (Pass / Fail / N/A) | - Performed By - (Signature/ Employee Number/Date) |
| --- | --- | --- | --- | --- |
| - 1 | - Verify database connection configuration | - Database connection parameters configured to connect to the TimescaleDB instance using the apcuser account | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 2 | - Verify site identifier configuration | - Configured OPC process parameters contain the correct site code identifier (e.g., _MPR, _MCR, _MWR, _MFW) corresponding to the APC deployment site | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 3 | - Verify Data Analyzer application startup | - Data Analyzer application launches successfully without errors | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 4 | - Verify TSDB connectivity | - Data Analyzer successfully connects to the TimescaleDB database | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - Comments: |  |  |  |  |

CHMI / APC UI Software Components Verification

This section verifies that OPC UA certificates, trust relationships, and connectivity between the deviceWise OPC UA Server and the Compact HMI environment are correctly configured and ready to support the selected Closed-Loop Correction (CLC) solution.

| - Item | - Action | - Expected Results | - Results - (Pass / Fail / N/A) | - Performed By - (Signature/ Employee Number/Date) |
| --- | --- | --- | --- | --- |
| - 1 | - Root certificate created | - 800xA OPC UA Root certificate exists and is active. | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 2 | - Root certificate created | - Application certificates updated | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 3 | - Application certificates updated without errors | - Issuer for 800xAManagementPortal and 800xAOpcUaConnect is 800xAOPCUARoot | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 4 | - OPC UA Server URL configured | - Server URL matches deviceWise OPC UA Server address: opc.tcp://Computer_Name:port Number | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 5 | - OPC UA placements added | - Required OPC UA placements added and connectivity validated - Node Status = Uploaded | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 6 | - CNC OPC naming verified | - CNC OPC object named consistently per APC standard | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 7 | - OPC UA connectivity readiness confirmed | - CHMI/APC UI OPC UA connectivity ready for solution execution | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - Comments: |  |  |  |  |

Equipment Network Connectivity Verification

This section verifies that required network connectivity between the APC virtual machine (VM) and configured CNC equipment is established, approved, and operational in accordance with site network security policies and ready to support the selected Closed-Loop Correction (CLC) solution.

| - Item | - Action | - Expected Results | - Results - (Pass / Fail / N/A) | - Performed By - (Signature/ Employee Number/Date) |
| --- | --- | --- | --- | --- |
| - 1 | - Verify Asset Configuration Worksheet (ACW) approval and deployment | - Approved ACW for the deployed asset family has been reviewed, approved, and imported into the APC TSDB. Machine identifiers and network parameters match the configured CNC assets. | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 2 | - APC VM network identity identified | - APC VM IP address documented: - VM IP: __________________ | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 3 | - CNC machine identifiers and IP addresses identified | - CNC IPs documented and aligned with configuration: - CNC machines documented and aligned with configuration: - CNC1 Name: _______ IP: ______ - CNC2 Name: _______ IP: ______ - CNC3 Name: _______ IP: ______ | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 4 | - Required CNC communication port defined | - Required CNC communication port identified: TCP Port 683 | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 5 | - Firewall exemption request submitted, approved and refrence | - IT firewall ticket created for APC VM → CNC connectivity - IT approval obtained and documented: - IT Ticket: _______________ | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 6 | - Network connectivity verified from APC VM to CNC equipment | - Successful telnet connection from the APC VM to each configured CNC machine using the required CNC communication port (TCP 683), confirming network reachability: - Telnet test to CNC1 – Successful - Telnet test to CNC2 – Successful - Telnet test to CNC3 – Successful | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - Comments: |  |  |  |  |

APC UI Software Update / Import Verification

This subsection verifies the controlled deployment of an approved CHMI / APC UI software update to an existing configured APC System. Verification confirms that the approved AFW update package is available, imported to the intended APC System, and that the updated application is available at the approved APC System version.

Complete this subsection when the Reason for Configuration is System Update. Additional configuration verification subsections shall be completed when the approved system update affects the corresponding APC software component or configuration.

| - Item | - Action | - Expected Results | - Results - (Pass / Fail / N/A) | - Performed By - (Signature/ Employee Number/Date) |
| --- | --- | --- | --- | --- |
| - 1 | - Verify the approved APC System AFW update package is available in the designated repository. | - The approved AFW update package is available and corresponds to the APC System version identified for the system update. | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 2 | - Import the approved AFW update package to the applicable APC System using the defined System Update / Import process. | - The AFW update package imports successfully without errors. | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 3 | - Open the APC UI application application following completion of the update. | - The APC UI application application opens successfully following the AFW import. | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - 4 | - Verify the APC UI System version displayed within the application. | - The displayed APC UI System version matches the approved version identified for the system update. - APC System Version: ________ | - ☐ Pass - ☐ Fail - ☐ N/A |  |
| - Comments: |  |  |  |  |

Deviations

☐  N/A, No Deviations applicable.

Use this table for documenting deviations that apply to this system verification. Mark this section N/A and delete this table below if there are no deviations for this verification.

| Section / Item | Variance / Deviation Description | Mitigation & Reverification Requirements (Include cause(s), actions (including any re-testing required & results), and impact on verification. |
| --- | --- | --- |

Add rows to table as necessary.

Conclusion

All activities listed in this Configuration Verification Checklist for the Advanced Process Control (APC) system [System Name / VM Name], supporting the [APC Solution Name] solution, have [been / not been] successfully completed in accordance with the approved APC System Configuration (D01555607).

Any deviations from the approved configuration baseline have been documented, including deviation description, impact assessment, resolution summary, and justification, as applicable.

Based on the results of this configuration verification, the APC system software configuration is [accepted / not accepted] and [approved / not approved] to proceed to APC System Execution (D01552864) and subsequent implementation, integration testing, or execution readiness activities, as applicable.

References

☐  N/A, No References applicable.

Use this table for referencing documents that apply to this system. Mark this section N/A and delete this table below if there are no References for this document.

| Document Number | Version | Description | Document Repository |
| --- | --- | --- | --- |
|  |  |  | Example: MAP Agile |